{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["预防性试验检测"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"预防性试验检测","index":0,"n_rows":28,"n_cols":11,"rows_kept":28,"merged":[[0,0,0,10],[1,0,1,10],[13,0,13,10],[27,0,27,6]],"flags":["formulas_cached_only"]}
["赣州国漫文化旅游基础设施建设项目\n配电房预防性试验及维护保养服务报价表","",null,"","",{"$nulls":5},""]
["一、配电房预防性实验"]
["序号","名称","工作内容","单位","暂定数量","税率（%）","除税单价（元）","除税合价（元）","含税单价（元）","含税合价（元）","备注"]
["1","高压柜（进线柜、PT柜、出线柜）","继电过负荷过电流保护监测、高压柜传动保护监测、高压柜绝缘检测、手车回路电阻检测、避雷器检测","台",4,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["2","低压柜（进线柜、出线柜、电容柜、双电源切换柜、电容补偿柜）","低压柜绝缘检测、手车回路电阻检测、互感器检测","台",23,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["3","变压器检测（1600KVA）","变压器绝缘、高低压侧三相绕组检测、耐压试验","台",2,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["4","发电机检测","发电机绕组检测、绝缘检测","台",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["5","电力电缆（YJV22-3*185、YJV22-3*120）","电缆绝缘、耐压检测","根",4,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6","高、低压调试",null,"项",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},0]
["7","配电房接地电阻测试",null,"项",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["8","所有连接点、接触点带负荷测温",null,"项",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["9","安全工器具检测",null,"项",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[10,"小计",null,"","",null,null,{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},0]
["二、配电房维护保养"]
["序号","名称","工作内容","单位","暂定数量","税率（%）","除税单价（元）","除税合价（元）","含税单价（元）","含税合价（元）","备注"]
[1,"出风口","新增通风口","个",2,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[2,"除湿机","新增除湿机","台",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[3,"应急照明灯","应急照明灯","盏",6,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[4,"空调","更换5P空调","台",2,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[5,"发电机","保养及维护","项",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[6,"设备维护及清理","高、低压柜除尘","台",30,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[7,"绝缘垫","更换","米",60,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[8,"防小动物","所有孔洞封堵","项",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[9,"标识牌完善","完善","项",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[10,"现场接线图","增加","套",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[11,"安全工器具柜","验电器、绝缘手套、绝缘靴、安全帽、警示牌","套",1,null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[12,"小计",null,"","",null,null,{"v":0,"d":"0.00"},null,{"v":0,"d":"0.00"},0]
["合计",{"$nulls":6},0,null,0]